Copyright 2014 by The American Institute of Architects (AIA)

Exclusively published and distributed by Architectural Computer Services, Inc. (ARCOM) for the AIA

This Product MasterSpec Section is licensed by ARCOM to Atlas Roofing Corporation ("Licensee").

This Product MasterSpec Section modifies the original MasterSpec text and does not include the full content of the original MasterSpec Section.

Revisions made to the original MasterSpec text are made solely by the Licensee and are not endorsed by, or representative of the opinions of, ARCOM or The American Institute of Architects (AIA). Neither AIA nor ARCOM are liable in any way for such revisions or for the use of this Product MasterSpec Section by any end user. A qualified design professional should review and edit the document to suit project requirements.

For more information, contact Atlas Roofing Corporation, 2000 Riveredge Parkway, Ste. 800, Atlanta GA 30328; Phone: (678) 402-9639; Website: www.atlasroofing.com; Email: jhurst@atlasroofing.com.

For information about MasterSpec, contact ARCOM at (800) 424-5080 or visit www.MasterSpec.com.

SECTION 072100 - THERMAL INSULATION

TIPS:

To view non-printing Editor's Notes that provide guidance for editing, click on MasterWorks/Single-File Formatting/Toggle/Editor's Notes.

To read detailed research, technical information about products and materials, and coordination checklists, click on MasterWorks/Supporting Information.

Revise this Section by deleting and inserting text to meet Project-specific requirements.

Verify that Section titles referenced in this Section are correct for this Project's Specifications; Section titles may have changed.

GENERAL

RELATED DOCUMENTS

Retain or delete this article in all Sections of Project Manual.

Drawings and general provisions of the Contract, including General and Supplementary Conditions and Division 01 Specification Sections, apply to this Section.

SUMMARY

Section Includes:

Extruded polystyrene foam-plastic board.

Molded polystyrene foam-plastic board.

Polyisocyanurate foam-plastic board.

Glass-fiber blanket.

Glass-fiber board.

Mineral-wool blanket.

Mineral-wool board.

Loose-fill insulation.

Spray-applied cellulosic insulation.

Cellular glass.

Reflective insulations.

Related Requirements:

Retain subparagraphs below to cross-reference requirements Contractor might expect to find in this Section but are specified in other Sections.

Section 042000 "Unit Masonry" for insulation installed in masonry cells.

Section 061600 "Sheathing" for foam-plastic board sheathing installed directly over wood or steel framing.

[Section 071326 "Self-Adhering Sheet Waterproofing"] [Section 071353 "Elastomeric Sheet Waterproofing"] [Section 071354 "Thermoplastic Sheet Waterproofing"] [Section 071413 "Hot Fluid-Applied Rubberized Asphalt Waterproofing"] [Section 071416 "Cold Fluid-Applied Waterproofing"] for insulated drainage panels installed with plaza deck insulation.

Section 072119 "Foamed-in-Place Insulation" for spray-applied polyurethane foam insulation.

[Section 075113 "Built-up Asphalt Roofing"] [Section 075116 "Built-up Coal Tar Roofing"] [Section 075213 "Atactic-Polypropylene (APP) Modified Bituminous Membrane Roofing"] [Section 075216 "Styrene-Butadiene-Styrene (SBS) Modified Bituminous Membrane Roofing"] [Section 075316 "Chlorosulfonate-Polyethylene (CSPE) Roofing"] [Section 075323 "Ethylene-Propylene-Diene-Monomer (EPDM) Roofing"] [Section 075416 "Ethylene Interpolymer (KEE) Roofing"] [Section 075419 "Polyvinyl-Chloride (PVC) Roofing"] [Section 075423 "Thermoplastic Polyolefin (TPO) Roofing"] [Section 075552 "Modified Bituminous Protected Membrane Roofing"] [Section 075556 "Fluid-Applied Protected Membrane Roofing"] [and] [Section 075700 "Coated Foamed Roofing"] for insulation specified as part of roofing construction.

[Section 092300 "Gypsum Plastering"] [Section 092400 "Portland Cement Plastering"] [Section 092613 "Gypsum Veneer Plastering"] [Section 092900 "Gypsum Board"] for sound attenuation blanket used as acoustic insulation.

ACTION SUBMITTALS

Product Data: For each type of product.

Sustainable Design Submittals:

Retain "Product Data" Subparagraph below to require minimum recycled content for LEED 2009 MR Credit 2 - "Recycled Content."

Product Data: For recycled content, indicating postconsumer and preconsumer recycled content and cost.

"Product Data" Subparagraph below applies to LEED 2009 NC, CI, and CS; LEED v4; IgCC; ASHRAE 189.1; and Green Globes. Coordinate with requirements for adhesives.

Product Data: For adhesives, indicating VOC content.

"Laboratory Test Reports" Subparagraph below applies to LEED 2009 for Schools, LEED v4, IgCC, ASHRAE 189.1, and Green Globes. Coordinate with requirements for adhesives.

Laboratory Test Reports: For adhesives, indicating compliance with requirements for low-emitting materials.

"Laboratory Test Reports" Subparagraph below applies to LEED v4.

Laboratory Test Reports: For insulation, indicating compliance with requirements for low-emitting materials.

INFORMATIONAL SUBMITTALS

Product Test Reports: For each product, for tests performed by a qualified testing agency.

"Evaluation Reports" Paragraph below refers to ISO 17065 accredited approval agencies.

Evaluation Reports: For foam-plastic insulation, from ICC-ES, UL, or other accredited approved agency.

DELIVERY, STORAGE, AND HANDLING

Protect insulation materials from physical damage and from deterioration due to moisture, soiling, and other sources. Store inside and in a dry location. Comply with manufacturer's written instructions for handling, storing, and protecting during installation.

Retain paragraph below for foam-plastic board insulation.

Protect foam-plastic board insulation as follows:

Do not expose to sunlight except to necessary extent for period of installation and concealment.

Protect against ignition at all times. Do not deliver foam-plastic board materials to Project site until just before installation time.

Quickly complete installation and concealment of foam-plastic board insulation in each area of construction.

PRODUCTS

Manufacturers and products listed in SpecAgent and MasterWorks Paragraph Builder are neither recommended nor endorsed by the AIA or ARCOM. Before inserting names, verify that manufacturers and products listed there comply with requirements retained or revised in descriptions and are both available and suitable for the intended applications. For definitions of terms and requirements for Contractor's product selection, see Section 016000 "Product Requirements."

EXTRUDED POLYSTYRENE FOAM-PLASTIC BOARD

Extruded polystyrene boards in this article are also called "XPS boards." Roman numeral designators in ASTM C 578 are assigned in a fixed random sequence, and their numeric order does not reflect increasing strength or other characteristics.

Insert drawing designations to identify each product. Use these designations on Drawings to show where each insulation type is required.

Extruded Polystyrene Board, Type X <Insert drawing designation>: ASTM C 578, Type X, 15-psi (104-kPa) minimum compressive strength; unfaced; maximum flame-spread and smoke-developed indexes of 25 and 450, respectively, per ASTM E 84.

Manufacturers: Subject to compliance with requirements, provide products by one of the following:

DiversiFoam Products.

Dow Chemical Company (The).

Owens Corning.

<Insert manufacturer's name>.

Retain "Fire Propagation Characteristics" Subparagraph below if required. Tested products are not available from all manufacturers for all types of assemblies.

Fire Propagation Characteristics: Passes NFPA 285 testing as part of an approved assembly.

Extruded Polystyrene Board, Type IV <Insert drawing designation>: ASTM C 578, Type IV, 25-psi (173-kPa) minimum compressive strength; unfaced; maximum flame-spread and smoke-developed indexes of 25 and 450, respectively, per ASTM E 84.

Manufacturers: Subject to compliance with requirements, provide products by one of the following:

DiversiFoam Products.

Dow Chemical Company (The).

Owens Corning.

<Insert manufacturer's name>.

Retain "Fire Propagation Characteristics" Subparagraph below if required. Tested products are not available from all manufacturers for all types of assemblies.

Fire Propagation Characteristics: Passes NFPA 285 testing as part of an approved assembly.

Extruded Polystyrene Board, Type IV, Drainage Panels <Insert drawing designation>: ASTM C 578, Type IV, 25-psi (173-kPa) minimum compressive strength; unfaced; maximum flame-spread and smoke-developed indexes of 25 and 450, respectively, per ASTM E 84; fabricated with shiplap or channel edges and with one side having grooved drainage channels.

Manufacturers: Subject to compliance with requirements, provide products by one of the following:

DiversiFoam Products.

Dow Chemical Company (The).

Owens Corning.

<Insert manufacturer's name>.

Extruded Polystyrene Board, Type VI <Insert drawing designation>: ASTM C 578, Type VI, Extruded Polystyrene Board, Type VI <Insert drawing designation>: ASTM C 578, Type VI, 40-psi (276-kPa) minimum compressive strength; maximum flame-spread and smoke-developed indexes of 25 and 450, respectively, per ASTM E 84.

Manufacturers: Subject to compliance with requirements, provide products by one of the following:

DiversiFoam Products.

Dow Chemical Company (The).

Owens Corning.

Soprema, Inc.

<Insert manufacturer's name>.

Extruded Polystyrene Board, Type VI, Drainage Panels <Insert drawing designation>: ASTM C 578, Type VI, 40-psi (276-kPa) minimum compressive strength; unfaced; maximum flame-spread and smoke-developed indexes of 25 and 450, respectively, per ASTM E 84; fabricated with shiplap or channel edges and with one side having grooved drainage channels.

Manufacturers: Subject to compliance with requirements, provide products by one of the following:

DiversiFoam Products.

Dow Chemical Company (The).

Kingspan Insulation.

Owens Corning.

<Insert manufacturer's name>.

Extruded Polystyrene Board, Type VII <Insert drawing designation>: ASTM C 578, Type VII, 60-psi (414-kPa) minimum compressive strength; maximum flame-spread and smoke-developed indexes of 25 and 450, respectively, per ASTM E 84.

Manufacturers: Subject to compliance with requirements, provide products by one of the following:

DiversiFoam Products.

Dow Chemical Company (The).

Owens Corning.

<Insert manufacturer's name>.

Extruded Polystyrene Board, Type VII, Drainage Panels <Insert drawing designation>: ASTM C 578, Type VII, 60-psi (414-kPa) minimum compressive strength; maximum flame-spread and smoke-developed indexes of 25 and 450, respectively, per ASTM E 84; fabricated with shiplap or channel edges and with one side having grooved drainage channels.

Manufacturers: Subject to compliance with requirements, provide products by one of the following:

DiversiFoam Products.

Dow Chemical Company (The).

Owens Corning.

<Insert manufacturer's name>.

Extruded Polystyrene Board, Type V <Insert drawing designation>: ASTM C 578, Type V, 100-psi (690-kPa) minimum compressive strength; maximum flame-spread and smoke-developed indexes of 25 and 450, respectively, per ASTM E 84.

Manufacturers: Subject to compliance with requirements, provide products by one of the following:

Dow Chemical Company (The).

Owens Corning.

<Insert manufacturer's name>.

MOLDED POLYSTYRENE FOAM-PLASTIC BOARD

Molded polystyrene boards in this article are also called "EPS boards," "expanded polystyrene boards," or "beadboards." Roman numeral designators in ASTM C 578 are assigned in a fixed random sequence, and their numeric order does not reflect increasing strength or other characteristics.

Insert drawing designations to identify each product. Use these designations on Drawings to show where each insulation type is required.

Commercial above-grade wall assemblies require consideration of NFPA 285 Fire Propagation compliance, for all combustible components in the chosen wall assembly. Atlas EPS has a software program to help the specifier ensure the chosen cladding, exterior insulation, air-barrier, and stud cavity insulation meet NFPA 285 assembly approvals and basic opaque wall energy requirements for the jurisdiction of the project location.

Molded expanded polystyrene is available from many manufacturers with enhancements for higher R-value (graphite), preservatives to prevent degradation by termites, and polymer facers that increase durability while providing water-resistive barrier assemblies. EPS is the most vapor open of the rigid foam insulations, while polymer films can be used to selectively retard vapor transmission or even serve to make the insulation a vapor barrier. Options are provided below for the specifier.

Molded Polystyrene Board, Type I <Insert drawing designation>: ASTM C 578, Type I, 10-psi (69-kPa) minimum compressive strength; unfaced; maximum flame-spread and smoke-developed indexes of 25 and 450, respectively, per ASTM E 84; minimum vapor permeance at 1 inch (25 mm) thickness of 4 perm, per ASTM E 96.

          - Basis-of-Design Product: Subject to compliance with requirements, provide Atlas Roofing Corporation; ThermalStar EIFS or a comparable product by one of the following:

DiversiFoam Products.

Insulfoam LLC; a Carlisle company.

Plymouth Foam, Inc.

<Insert manufacturer's name>.

Retain "Termite Resistance Characteristics" Subparagraph below if required. Accredited third-party tested products are not available from all manufacturers for all types of assemblies.

Termite Resistance Characteristics: Passes ICC-ES AC239 requirements for termite resistance of foam plastics.

Graphite Enhanced Molded Polystyrene Board, Type I <Insert drawing designation>: ASTM C 578, Type I, 10-psi (69-kPa) minimum compressive strength; maximum flame-spread and smoke-developed indexes of 25 and 450, respectively, per ASTM E 84; minimum vapor permeance at 1 inch (26 mm) thickness of 4 perm, per ASTM E 96; R-value at 1 inch (26 mm) thickness R5 minimum per ASTM C 518.

Basis-of-Design Product: Subject to compliance with requirements, provide Atlas Roofing Corporation; ThermalStar GX Series or a comparable product by one of the following:

Insulfoam LLC; a Carlisle company.

<Insert manufacturer's name>.

Retain "Termite Resistance Characteristics" Subparagraph below if required. Accredited third-party tested products are not available from all manufacturers for all types of assemblies.

Termite Resistance Characteristics: Passes ICC-ES AC239 requirements for termite resistance of foam plastics.

Polymer Film Faced Molded Polystyrene Board, Type I <Insert drawing designation>: ASTM C 578, Type I, 10-psi (69-kPa) minimum compressive strength; film faced one or both sides; maximum flame-spread and smoke-developed indexes of 25 and 450, respectively, per ASTM E 84; maximum vapor permeance at 1 inch (25 mm) thickness of less than 2 perm, per ASTM E 96.

Basis-of-Design Product: Subject to compliance with requirements, provide Atlas Roofing Corporation; ThermalStar LCi or a comparable product by one of the following:

ACH Foam Technologies, LLC.

Insulfoam LLC; a Carlisle company.

<Insert manufacturer's name>.

Retain "Termite Resistance Characteristics" Subparagraph below if required. Accredited third-party tested products are not available from all manufacturers for all types of assemblies.

Termite Resistance Characteristics: Passes ICC-ES AC239 requirements for termite resistance of foam plastics.

Molded Polystyrene Board, Type VIII <Insert drawing designation>: ASTM C 578, Type VIII, 13-psi (90-kPa) minimum compressive strength; unfaced; maximum flame-spread and smoke-developed indexes of 25 and 450, respectively, per ASTM E 84; minimum vapor permeance at 1 inch (25 mm) thickness of 3 perm, per ASTM E 96.

          - Basis-of-Design Product: Subject to compliance with requirements, provide Atlas Roofing Corporation; ThermalStar or a comparable product by one of the following:

Insulfoam LLC; a Carlisle company.

Plymouth Foam, Inc.

<Insert manufacturer's name>.

Graphite Enhanced Molded Polystyrene Board, Type VIII <Insert drawing designation>: ASTM C 578, Type VIII, 13-psi (90-kPa) minimum compressive strength; maximum flame-spread and smoke-developed indexes of 25 and 450, respectively, per ASTM E 84; minimum vapor permeance at 1 inch (26 mm) thickness of 4 perm, per ASTM E 96; R-value at 1 inch (25 mm) thickness R5 minimum per ASTM C 518.

Basis-of-Design Product: Subject to compliance with requirements, provide Atlas Roofing Corporation; ThermalStar GX Series or a comparable product by one of the following:

Insulfoam LLC; a Carlisle company.

<Insert manufacturer's name>.

Retain "Termite Resistance Characteristics" Subparagraph below if required. Accredited third-party tested products are not available from all manufacturers for all types of assemblies.

Termite Resistance Characteristics: Passes ICC-ES AC239 requirements for termite resistance of foam plastics.

Molded Polystyrene Board, Type II <Insert drawing designation>: ASTM C 578, Type II, 15-psi (104-kPa) minimum compressive strength; unfaced; maximum flame-spread and smoke-developed indexes of 25 and 450, respectively, per ASTM E 84; minimum vapor permeance at 1 inch (25 mm) thickness of 2 perm, per ASTM E 96.

Basis-of-Design Product: Subject to compliance with requirements, provide Atlas Roofing Corporation; ThermalStar X-Grade or a comparable product by one of the following:

DiversiFoam Products.

Insulfoam LLC; a Carlisle company.

Plymouth Foam, Inc.

<Insert manufacturer's name>.

Retain "Fire Propagation Characteristics" Subparagraph below if required. Accredited third-party tested products are not available from all manufacturers for all types of assemblies.

Fire Propagation Characteristics: Passes NFPA 285 testing as part of an approved assembly.

Retain "Termite Resistance Characteristics" Subparagraph below if required. Accredited third-party tested products are not available from all manufacturers for all types of assemblies.

Termite Resistance Characteristics: Passes ICC-ES AC239 requirements for termite resistance of foam plastics.

Graphite Enhanced Molded Polystyrene Board, Type II <Insert drawing designation>: ASTM C 578, Type II, 15-psi (104-kPa) minimum compressive strength; maximum flame-spread and smoke-developed indexes of 25 and 450, respectively, per ASTM E 84; minimum vapor permeance at 1 inch (26 mm) thickness of 3 perm, per ASTM E 96; R-value at 1 inch (25 mm) thickness R5 minimum per ASTM C 518.

Basis-of-Design Product: Subject to compliance with requirements, provide Atlas Roofing Corporation; ThermalStar GX Series or a comparable product by one of the following:

Insulfoam LLC; a Carlisle company.

<Insert manufacturer's name>.

Retain "Fire Propagation Characteristics" Subparagraph below if required. Accredited third-party tested products are not available from all manufacturers for all types of assemblies.

Fire Propagation Characteristics: Passes NFPA 285 testing as part of an approved assembly.

Retain "Termite Resistance Characteristics" Subparagraph below if required. Accredited third-party tested products are not available from all manufacturers for all types of assemblies.

Termite Resistance Characteristics: Passes ICC-ES AC239 requirements for termite resistance of foam plastics.

Polymer Film Faced Molded Polystyrene Board, Type II <Insert drawing designation>: ASTM C 578, Type II, 15-psi (104-kPa) minimum compressive strength; film faced one or both sides; maximum flame-spread and smoke-developed indexes of 25 and 450, respectively, per ASTM E 84; maximum vapor permeance at 1 inch (25 mm) thickness of less than 2 perm, per ASTM E 96.

Basis-of-Design Product: Subject to compliance with requirements, provide Atlas Roofing Corporation; ThermalStar LCi or a comparable product by one of the following:

ACH Foam Technologies, LLC.

Insulfoam LLC; a Carlisle company.

<Insert manufacturer's name>.

Retain "Fire Propagation Characteristics" Subparagraph below if required. Accredited third-party tested products are not available from all manufacturers for all types of assemblies.

Fire Propagation Characteristics: Passes NFPA 285 testing as part of an approved assembly.

Retain "Termite Resistance Characteristics" Subparagraph below if required. Accredited third-party tested products are not available from all manufacturers for all types of assemblies.

Termite Resistance Characteristics: Passes ICC-ES AC239 requirements for termite resistance of foam plastics.

Molded Polystyrene Board, Type IX <Insert drawing designation>: ASTM C 578, Type IX, 25-psi (173-kPa) minimum compressive strength; unfaced; maximum flame-spread and smoke-developed indexes of 25 and 450, respectively, per ASTM E 84; minimum vapor permeance at 1 inch (25 mm) thickness of 2 perm, per ASTM E 96.

Basis-of-Design Product: Subject to compliance with requirements, provide Atlas Roofing Corporation; [ThermalStar X-Grade] [ThermalStar GX Series] [ThermalStar LCi] or a comparable product by one of the following:

DiversiFoam Products.

            - Insulfoam LLC; a Carlisle company.

Plymouth Foam, Inc.

<Insert manufacturer's name>.

Retain "Fire Propagation Characteristics" Subparagraph below if required. Accredited third-party tested products are not available from all manufacturers for all types of assemblies.

Fire Propagation Characteristics: Passes NFPA 285 testing as part of an approved assembly.

Retain "Termite Resistance Characteristics" Subparagraph below if required. Accredited third-party tested products are not available from all manufacturers for all types of assemblies.

Termite Resistance Characteristics: Passes ICC-ES AC239 requirements for termite resistance of foam plastics.

Graphite Enhanced Molded Polystyrene Board, Type IX <Insert drawing designation>: ASTM C 578, Type IX, 25-psi (173-kPa) minimum compressive strength; maximum flame-spread and smoke-developed indexes of 25 and 450, respectively, per ASTM E 84; minimum vapor permeance at 1 inch (26 mm) thickness of 2 perm, per ASTM E 96; R-value at 1 inch (25 mm) thickness R5 minimum per ASTM C 518.

Basis-of-Design Product: Subject to compliance with requirements, provide Atlas Roofing Corporation; ThermalStar GX Series or a comparable product by one of the following:

Insulfoam LLC; a Carlisle company.

<Insert manufacturer's name>.

Retain "Fire Propagation Characteristics" Subparagraph below if required. Accredited third-party tested products are not available from all manufacturers for all types of assemblies.

Fire Propagation Characteristics: Passes NFPA 285 testing as part of an approved assembly.

Retain "Termite Resistance Characteristics" Subparagraph below if required. Accredited third-party tested products are not available from all manufacturers for all types of assemblies.

Termite Resistance Characteristics: Passes ICC-ES AC239 requirements for termite resistance of foam plastics.

Polymer Film Faced Molded Polystyrene Board, Type IX <Insert drawing designation>: ASTM C 578, Type IX, 25-psi (173-kPa) minimum compressive strength; film faced one or both sides; maximum flame-spread and smoke-developed indexes of 25 and 450, respectively, per ASTM E 84; maximum vapor permeance at 1 inch (25 mm) thickness of less than 1 perm, per ASTM E 96.

Basis-of-Design Product: Subject to compliance with requirements, provide Atlas Roofing Corporation; ThermalStar LCi or a comparable product by one of the following:

ACH Foam Technologies, LLC.

Insulfoam LLC; a Carlisle company.

<Insert manufacturer's name>.

Retain "Fire Propagation Characteristics" Subparagraph below if required. Accredited third-party tested products are not available from all manufacturers for all types of assemblies.

Fire Propagation Characteristics: Passes NFPA 285 testing as part of an approved assembly.

Retain "Termite Resistance Characteristics" Subparagraph below if required. Accredited third-party tested products are not available from all manufacturers for all types of assemblies.

Termite Resistance Characteristics: Passes ICC-ES AC239 requirements for termite resistance of foam plastics.

Molded Polystyrene Board, Type XIV <Insert drawing designation>: ASTM C 578, Type XIV, 40-psi (276-kPa) minimum compressive strength; maximum flame-spread and smoke-developed indexes of 25 and 450, respectively, per ASTM E 84; minimum vapor permeance at 1 inch (25 mm) thickness of 1.5 perm, per ASTM E 96.

Basis-of-Design Product: Subject to compliance with requirements, provide Atlas Roofing Corporation; [ThermalStar X-Grade] [ThermalStar GX Series] [ThermalStar LCi] or a comparable product by one of the following:

ACH Foam Technologies, LLC.

Atlas EPS; a Division of Atlas Roofing Corporation.

Insulfoam LLC; a Carlisle company.

Plymouth Foam, Inc.

<Insert manufacturer's name>.

Retain "Termite Resistance Characteristics" Subparagraph below if required. Accredited third-party tested products are not available from all manufacturers for all types of assemblies.

Termite Resistance Characteristics: Passes ICC-ES AC239 requirements for termite resistance of foam plastics.

Molded Polystyrene Board, Type XV <Insert drawing designation>: ASTM C 578, Type XV, 60-psi (414-kPa) minimum compressive strength; maximum flame-spread and smoke-developed indexes of 25 and 450, respectively, per ASTM E 84; minimum vapor permeance at 1 inch (25 mm) thickness of 1 perm, per ASTM E 96.

          - Basis-of-Design Product: Subject to compliance with requirements, provide Atlas Roofing Corporation; ThermalStar X-Grade or a comparable product by one of the following:

ACH Foam Technologies, LLC.

Atlas EPS; a Division of Atlas Roofing Corporation.

Insulfoam LLC; a Carlisle company.

Plymouth Foam, Inc.

<Insert manufacturer's name>.

Retain "Termite Resistance Characteristics" Subparagraph below if required. Accredited third-party tested products are not available from all manufacturers for all types of assemblies.

Termite Resistance Characteristics: Passes ICC-ES AC239 requirements for termite resistance of foam plastics.

POLYISOCYANURATE FOAM-PLASTIC BOARD

Insert drawing designations to identify each product. Use these designations on Drawings to show where each insulation type is required. For product data sheet, see http://www.atlasroofing.com/continuous-wall-insulation/energy-shield-pro. Atlas EnergyShield Pro 2 has additional fiberglass in the core of the board to meet Class 2 designation for ASTM C 1289 foil faced Type I, Class 2, while EnergyShield Pro does not contain fiberglass in the core and meets ASTM C 1289 foil faced Type I, Class 1.

Polyisocyanurate Board, Foil Faced <Insert drawing designation>: ASTM C 1289, foil faced, Type I, Class 1.

Basis-of-Design Product: Subject to compliance with requirements, provide Atlas Roofing Corporation; EnergyShield® Pro or a comparable product by one of the following:

Carlisle Coatings & Waterproofing Inc.

Dow Chemical Company (The).

Firestone Building Products.

<Insert manufacturer's name>.

Retain "Fire Propagation Characteristics" Subparagraph below if required. Tested products are not available from all manufacturers for all types of assemblies.

Fire Propagation Characteristics: Passes NFPA 285 and NFPA 286 testing as part of an approved assembly.

Polyisocyanurate Board, Foil Faced <Insert drawing designation>: ASTM C 1289, foil faced, Type I, Class 2.

Basis-of-Design Product: Subject to compliance with requirements, provide Atlas Roofing Corporation; EnergyShield® Pro 2 or a comparable product by one of the following:

Carlisle Coatings & Waterproofing Inc.

Dow Chemical Company (The).

Firestone Building Products.

<Insert manufacturer's name>.

Retain "Fire Propagation Characteristics" Subparagraph below if required. Tested products are not available from all manufacturers for all types of assemblies.

Fire Propagation Characteristics: Passes NFPA 285 and NFPA 286 testing as part of an approved assembly.

Polyisocyanurate Board, Glass-Fiber-Mat Faced <Insert drawing designation>: ASTM C 1289, glass-fiber-mat faced, Type II, Class 2, Grade 2.

Basis-of-Design Product: Subject to compliance with requirements, provide Atlas Roofing Corporation; EnergyShield® CGF Pro or a comparable product by one of the following:

Carlisle Coatings & Waterproofing Inc.

Firestone Building Products.

Hunter Panels.

<Insert manufacturer's name>.

Retain "Fire Propagation Characteristics" Subparagraph below if required. Tested products are not available from all manufacturers for all types of assemblies.

Fire Propagation Characteristics: Passes NFPA 285 testing as part of an approved assembly.

GLASS-FIBER BLANKET

Paragraph below applies to LEED v4.

Insulation shall comply with the requirements of the California Department of Public Health's "Standard Method for the Testing and Evaluation of Volatile Organic Chemical Emissions from Indoor Sources Using Environmental Chambers."

Retain "Recycled Content" Paragraph below to specify recycled content if required. An alternative method of requiring recycled content is to retain requirement in Project's Division 01 sustainable design requirements Section that gives Contractor the option and responsibility to determine how recycled content requirements will be met.

Recycled Content: Postconsumer recycled content plus one-half of preconsumer recycled content not less than <Insert value> percent.

Copy paragraphs below and re-edit for each type of insulation required. Insert drawing designations to identify each product. Use these designations on Drawings to show where each insulation type is required.

Glass-Fiber Blanket, Unfaced <Insert drawing designation>: ASTM C 665, Type I; with maximum flame-spread and smoke-developed indexes of 25 and 50, respectively, per ASTM E 84; passing ASTM E 136 for combustion characteristics.

Manufacturers: Subject to compliance with requirements, provide products by one of the following:

CertainTeed Corporation.

Johns Manville; a Berkshire Hathaway company.

Knauf Insulation.

Owens Corning.

<Insert manufacturer's name>.

Glass-Fiber Blanket, Polypropylene-Scrim-Kraft Faced <Insert drawing designation>: ASTM C 665, Type II (nonreflective faced), Class A (faced surface with a flame-spread index of 25 or less); Category 1 (membrane is a vapor barrier).

Manufacturers: Subject to compliance with requirements, provide products by one of the following:

CertainTeed Corporation.

Johns Manville; a Berkshire Hathaway company.

Knauf Insulation.

Owens Corning.

<Insert manufacturer's name>.

Glass-Fiber Blanket, Kraft Faced <Insert drawing designation>: ASTM C 665, Type II (nonreflective faced), Class C (faced surface not rated for flame propagation); Category 1 (membrane is a vapor barrier).

Manufacturers: Subject to compliance with requirements, provide products by one of the following:

CertainTeed Corporation.

Johns Manville; a Berkshire Hathaway company.

Knauf Insulation.

Owens Corning.

<Insert manufacturer's name>.

Glass-Fiber Blanket, Reinforced-Foil Faced <Insert drawing designation>: ASTM C 665, Type III (reflective faced), Class A (faced surface with a flame-spread index of 25 or less); Category 1 (membrane is a vapor barrier), faced with foil scrim, foil-scrim kraft, or foil-scrim polyethylene.

Manufacturers: Subject to compliance with requirements, provide products by one of the following:

CertainTeed Corporation.

Johns Manville; a Berkshire Hathaway company.

Knauf Insulation.

Owens Corning.

<Insert manufacturer's name>.

Glass-Fiber Blanket, Foil Faced <Insert drawing designation>: ASTM C 665, Type III (reflective faced), Class B (faced surface with a flame-propagation resistance of 0.12 W/sq. cm); Category 1 (membrane is a vapor barrier), faced with foil scrim, foil-scrim kraft, or foil-scrim polyethylene.

Manufacturers: Subject to compliance with requirements, provide products by one of the following:

CertainTeed Corporation.

Johns Manville; a Berkshire Hathaway company.

Knauf Insulation.

Owens Corning.

<Insert manufacturer's name>.

GLASS-FIBER BOARD

Paragraph below applies to LEED v4.

Insulation shall comply with the requirements of the California Department of Public Health's "Standard Method for the Testing and Evaluation of Volatile Organic Chemical Emissions from Indoor Sources Using Environmental Chambers."

Retain "Recycled Content" Paragraph below to specify recycled content if required. An alternative method of requiring recycled content is to retain requirement in Project's Division 01 sustainable design requirements Section that gives Contractor the option and responsibility to determine how recycled content requirements will be met.

Recycled Content: Postconsumer recycled content plus one-half of preconsumer recycled content not less than <Insert value> percent.

Copy paragraphs below and re-edit for each type of insulation required. Insert drawing designations to identify each product. Use these designations on Drawings to show where each insulation type is required.

Glass-Fiber Board, Unfaced <Insert drawing designation>: ASTM C 612, Type IA; unfaced, with maximum flame-spread and smoke-developed indexes of 25 and 50, respectively, per ASTM E 84[, passing ASTM E 136 for combustion characteristics]. Nominal density of 2.25 lb/cu. ft (36 kg/cu. m), thermal resistivity of 4.3 deg F x h x sq. ft./Btu x in. at 75 deg F (29.8 K x m/W at 24 deg C).

          - Manufacturers: Subject to compliance with requirements, provide products by one of the following:

CertainTeed Corporation.

Johns Manville; a Berkshire Hathaway company.

Knauf Insulation.

Owens Corning.

<Insert manufacturer's name>.

Glass-Fiber Board, Faced <Insert drawing designation>: ASTM C 612, Type IA; faced on one side with foil-scrim-kraft or foil-scrim-polyethylene vapor retarder, with maximum flame-spread and smoke-developed indexes of 25 and 50, respectively, per ASTM E 84. Nominal density of 2.25 lb/cu. ft. (36 kg/cu. m), thermal resistivity of 4.3 deg F x h x sq. ft./Btu x in. at 75 deg F (29.8 K x m/W at 24 deg C).

          - Manufacturers: Subject to compliance with requirements, provide products by one of the following:

CertainTeed Corporation.

Johns Manville; a Berkshire Hathaway company.

Knauf Insulation.

Owens Corning.

<Insert manufacturer's name>.

Glass-Fiber Board, Unfaced <Insert drawing designation>: ASTM C 612, Type IA; unfaced, with maximum flame-spread and smoke-developed indexes of 25 and 50, respectively, per ASTM E 84[, passing ASTM E 136 for combustion characteristics]. Nominal density of 3 lb/cu. ft. (48 kg/cu. m), thermal resistivity of 4.3 deg F x h x sq. ft./Btu x in. at 75 deg F (29.8 K x m/W at 24 deg C).

          - Manufacturers: Subject to compliance with requirements, provide products by one of the following:

CertainTeed Corporation.

Johns Manville; a Berkshire Hathaway company.

Knauf Insulation.

Owens Corning.

<Insert manufacturer's name>.

Glass-Fiber Board, Faced <Insert drawing designation>: ASTM C 612, Type IA; faced on one side with foil-scrim-kraft or foil-scrim-polyethylene vapor retarder, with maximum flame-spread and smoke-developed indexes of 25 and 50, respectively, per ASTM E 84. Nominal density of 3 lb/cu. ft. (48 kg/cu. m), thermal resistivity of 4.3 deg F x h x sq. ft./Btu x in. at 75 deg F (29.8 K x m/W at 24 deg C).

          - Manufacturers: Subject to compliance with requirements, provide products by one of the following:

CertainTeed Corporation.

Johns Manville; a Berkshire Hathaway company.

Knauf Insulation.

Owens Corning.

<Insert manufacturer's name>.

Glass-Fiber Board, Unfaced <Insert drawing designation>: ASTM C 612, Type IA; unfaced, with maximum flame-spread and smoke-developed indexes of 25 and 50, respectively, per ASTM E 84[, passing ASTM E 136 for combustion characteristics]. Nominal density of 4.25 lb/cu. ft. (68 kg/cu. m), thermal resistivity of 4.3 deg F x h x sq. ft./Btu x in. at 75 deg F (29.8 K x m/W at 24 deg C).

          - Manufacturers: Subject to compliance with requirements, provide products by one of the following:

Knauf Insulation.

<Insert manufacturer's name>.

Glass-Fiber Board, Faced <Insert drawing designation>: ASTM C 612, Type IA; faced on one side with foil-scrim-kraft or foil-scrim-polyethylene vapor retarder, with maximum flame-spread and smoke-developed indexes of 25 and 50, respectively, per ASTM E 84. Nominal density of 4.25 lb/cu. ft. (68 kg/cu. m), thermal resistivity of 4.3 deg F x h x sq. ft./Btu x in. at 75 deg F (29.8 K x m/W at 24 deg C).

          - Manufacturers: Subject to compliance with requirements, provide products by one of the following:

Knauf Insulation.

<Insert manufacturer's name>.

Glass-Fiber Board, Unfaced <Insert drawing designation>: ASTM C 612, Type IA; unfaced, with maximum flame-spread and smoke-developed indexes of 25 and 50, respectively, per ASTM E 84[, passing ASTM E 136 for combustion characteristics]. Nominal density of 6 lb/cu. ft. (96 kg/cu. m), thermal resistivity of 4.4 deg F x h x sq. ft./Btu x in. at 75 deg F (30.5 K x m/W at 24 deg C).

          - Manufacturers: Subject to compliance with requirements, provide products by one of the following:

Johns Manville; a Berkshire Hathaway company.

Knauf Insulation.

<Insert manufacturer's name>.

Glass-Fiber Board, Faced <Insert drawing designation>: ASTM C 612, Type IA; faced on one side with foil-scrim-kraft or foil-scrim-polyethylene vapor retarder, with maximum flame-spread and smoke-developed indexes of 25 and 50, respectively, per ASTM E 84. Nominal density of 6 lb/cu. ft. (96 kg/cu. m), thermal resistivity of not less than 4.34 deg F x h x sq. ft./Btu x in. at 75 deg F (30.1 K x m/W at 24 deg C).

          - Manufacturers: Subject to compliance with requirements, provide products by one of the following:

CertainTeed Corporation.

Johns Manville; a Berkshire Hathaway company.

Knauf Insulation.

Owens Corning.

<Insert manufacturer's name>.

MINERAL-WOOL BLANKETS

Paragraph below applies to LEED v4.

Insulation shall comply with the requirements of the California Department of Public Health's "Standard Method for the Testing and Evaluation of Volatile Organic Chemical Emissions from Indoor Sources Using Environmental Chambers."

Retain "Recycled Content" Paragraph below to specify recycled content if required. An alternative method of requiring recycled content is to retain requirement in Project's Division 01 sustainable design requirements Section that gives Contractor the option and responsibility to determine how recycled content requirements will be met.

Recycled Content: Postconsumer recycled content plus one-half of preconsumer recycled content not less than <Insert value> percent.

Copy paragraphs below and re-edit for each type of insulation required. Insert drawing designations to identify each product. Use these designations on Drawings to show where each insulation type is required.

Mineral-Wool Blanket, Unfaced <Insert drawing designation>: ASTM C 665, Type I (blankets without membrane facing); consisting of fibers; with maximum flame-spread and smoke-developed indexes of 25 and 50, respectively, per ASTM E 84; passing ASTM E 136 for combustion characteristics.

          - Manufacturers: Subject to compliance with requirements, provide products by one of the following:

Industrial Insulation Group, LLC (IIG-LLC).

Roxul Inc.

Thermafiber, Inc.; an Owens Corning company.

<Insert manufacturer's name>.

Mineral-Wool Blanket, Reinforced-Foil Faced <Insert drawing designation>: ASTM C 665, Type III (reflective faced), Class A (faced surface with a flame-spread index of 25 or less per ASTM E 84); Category 1 (membrane is a vapor barrier), faced with foil scrim, foil-scrim kraft, or foil-scrim polyethylene.

          - Manufacturers: Subject to compliance with requirements, provide products by one of the following:

Thermafiber, Inc.; an Owens Corning company.

<Insert manufacturer's name>.

MINERAL-WOOL BOARD

Paragraph below applies to LEED v4.

Insulation shall comply with the requirements of the California Department of Public Health's "Standard Method for the Testing and Evaluation of Volatile Organic Chemical Emissions from Indoor Sources Using Environmental Chambers."

Retain "Recycled Content" Paragraph below to specify recycled content if required. An alternative method of requiring recycled content is to retain requirement in Project's Division 01 sustainable design requirements Section that gives Contractor the option and responsibility to determine how recycled content requirements will be met.

Recycled Content: Postconsumer recycled content plus one-half of preconsumer recycled content not less than <Insert value> percent.

Copy paragraphs below and re-edit for each type of insulation required. Insert drawing designations to identify each product. Use these designations on Drawings to show where each insulation type is required.

Mineral-Wool Board, Types IA and IB, Unfaced <Insert drawing designation>: ASTM C 612, Types IA and IB; with maximum flame-spread and smoke-developed indexes of 15 and zero, respectively, per ASTM E 84; passing ASTM E 136 for combustion characteristics. Nominal density of 4 lb/cu. ft. (64 kg/cu. m).

          - Manufacturers: Subject to compliance with requirements, provide products by one of the following:

Industrial Insulation Group, LLC (IIG-LLC).

Roxul Inc.

Thermafiber, Inc.; an Owens Corning company.

<Insert manufacturer's name>.

Mineral-Wool Board, Types IA and IB, Faced <Insert drawing designation>: ASTM C 612, Types IA and IB; faced on one side with foil-scrim or foil-scrim-polyethylene vapor retarder; with maximum flame-spread and smoke-developed indexes of 15 and zero, respectively, per ASTM E 84. Nominal density of 4 lb/cu. ft. (64 kg/cu. m).

          - Manufacturers: Subject to compliance with requirements, provide products by one of the following:

Industrial Insulation Group, LLC (IIG-LLC).

Thermafiber, Inc.; an Owens Corning company.

<Insert manufacturer's name>.

Mineral-Wool Board, Type II, Unfaced <Insert drawing designation>: ASTM C 612, Type II; with maximum flame-spread and smoke-developed indexes of 15 and zero, respectively, per ASTM E 84; passing ASTM E 136 for combustion characteristics. Nominal density of 6 lb/cu. ft. (96 kg/cu. m).

          - Manufacturers: Subject to compliance with requirements, provide products by one of the following:

Industrial Insulation Group, LLC (IIG-LLC).

Roxul Inc.

Thermafiber, Inc.; an Owens Corning company.

<Insert manufacturer's name>.

Mineral-Wool Board, Type II, Faced <Insert drawing designation>: ASTM C 612, Type II; faced on one side with foil-scrim or foil-scrim-polyethylene vapor retarder; with maximum flame-spread and smoke-developed indexes of 15 and zero, respectively, per ASTM E 84. Nominal density of 6 lb/cu. ft. (96 kg/cu. m).

          - Manufacturers: Subject to compliance with requirements, provide products by one of the following:

Industrial Insulation Group, LLC (IIG-LLC).

Thermafiber, Inc.; an Owens Corning company.

<Insert manufacturer's name>.

Mineral-Wool Board, Type III, Unfaced <Insert drawing designation>: ASTM C 612, Type III; with maximum flame-spread and smoke-developed indexes of 15 and zero, respectively, per ASTM E 84; passing ASTM E 136 for combustion characteristics. Nominal density of 8 lb/cu. ft. (128 kg/cu. m).

          - Manufacturers: Subject to compliance with requirements, provide products by one of the following:

Industrial Insulation Group, LLC (IIG-LLC).

Roxul Inc.

Thermafiber, Inc.; an Owens Corning company.

<Insert manufacturer's name>.

Mineral-Wool Board, Type III, Faced <Insert drawing designation>: ASTM C 612, Type III; faced on one side with foil-scrim or foil-scrim-polyethylene vapor retarder; with maximum flame-spread and smoke-developed indexes of 15 and zero, respectively, per ASTM E 84. Nominal density of 8 lb/cu. ft. (128 kg/cu. m).

          - Manufacturers: Subject to compliance with requirements, provide products by one of the following:

Industrial Insulation Group, LLC (IIG-LLC).

Roxul Inc.

Thermafiber, Inc.; an Owens Corning company.

<Insert manufacturer's name>.

LOOSE-FILL INSULATION

Paragraph below applies to LEED v4.

Insulation shall comply with the requirements of the California Department of Public Health's "Standard Method for the Testing and Evaluation of Volatile Organic Chemical Emissions from Indoor Sources Using Environmental Chambers."

Retain "Recycled Content" Paragraph below to specify recycled content if required. An alternative method of requiring recycled content is to retain requirement in Project's Division 01 sustainable design requirements Section that gives Contractor the option and responsibility to determine how recycled content requirements will be met.

Recycled Content: Postconsumer recycled content plus one-half of preconsumer recycled content not less than <Insert value> percent.

Copy paragraphs below and re-edit for each type of insulation required. Insert drawing designations to identify each product. Use these designations on Drawings to show where each insulation type is required.

Cellulosic-Fiber Loose-Fill Insulation <Insert drawing designation>: ASTM C 739, chemically treated for flame-resistance, processing, and handling characteristics.

          - Manufacturers: Subject to compliance with requirements, provide products by one of the following:

Central Fiber LLC.

GreenFiber.

Hamilton Manufacturing Inc.

Nu-Wool Co., Inc.

<Insert manufacturer's name>.

Glass-Fiber Loose-Fill Insulation <Insert drawing designation>: ASTM C 764, [Type I for pneumatic application] [or] [Type II for poured application]; with maximum flame-spread and smoke-developed indexes of 5, per ASTM E 84.

          - Manufacturers: Subject to compliance with requirements, provide products by one of the following:

CertainTeed Corporation.

Johns Manville; a Berkshire Hathaway company.

Knauf Insulation.

<Insert manufacturer's name>.

SPRAY-APPLIED CELLULOSIC INSULATION

Paragraph below applies to LEED v4.

Insulation shall comply with the requirements of the California Department of Public Health's "Standard Method for the Testing and Evaluation of Volatile Organic Chemical Emissions from Indoor Sources Using Environmental Chambers."

Retain "Recycled Content" Paragraph below to specify recycled content if required. An alternative method of requiring recycled content is to retain requirement in Project's Division 01 sustainable design requirements Section that gives Contractor the option and responsibility to determine how recycled content requirements will be met.

Recycled Content: Postconsumer recycled content plus one-half of preconsumer recycled content not less than <Insert value> percent.

Copy paragraph below and re-edit for each type of insulation required. Insert drawing designations to identify each product. Use these designations on Drawings to show where each insulation type is required.

Self-Supported, Spray-Applied Cellulosic Insulation <Insert drawing designation>: ASTM C 1149, [Type I (materials applied with liquid adhesive; suitable for either exposed or enclosed applications),] [Type II (materials containing a dry adhesive activated by water during installation; intended only for enclosed or covered applications),] [Type III (materials containing an adhesive mixed with water during application; intended for application on attic floors),] chemically treated for flame-resistance, processing, and handling characteristics.

          - Manufacturers: Subject to compliance with requirements, provide products by one of the following:

Central Fiber LLC.

GreenFiber.

Hamilton Manufacturing Inc.

Nu-Wool Co., Inc.

<Insert manufacturer's name>.

CELLULAR GLASS

Copy paragraph below and re-edit for each type of insulation required. Insert drawing designations to identify each product. Use these designations on Drawings to show where each insulation type is required.

Cellular Glass <Insert drawing designation>: ASTM C 552, [Type I (flat block)] [Type IV (board)] [faced on both sides with manufacturer's special kraft-paper sheets laminated to glass block with asphalt].

          - Manufacturers: Subject to compliance with requirements, provide products by one of the following:

Pittsburgh Corning Corporation.

<Insert manufacturer's name>.

REFLECTIVE INSULATIONS

Reflective insulation products generally require application adjacent to an air space to function. See manufacturers' literature for proper use.

Paragraph below applies to LEED v4.

Insulation shall comply with the requirements of the California Department of Public Health's "Standard Method for the Testing and Evaluation of Volatile Organic Chemical Emissions from Indoor Sources Using Environmental Chambers."

Reflective insulations in paragraph below consist of one or more sheets (substrates) separated with internal expanders or sheet bubble film and faced with aluminum foil or metallic coatings.

Reflective Insulation: ASTM C 1224, with one or more low-emittance surfaces with emittance value of 0.1 or less as measured per ASTM C 1371.

Manufacturers: Subject to compliance with requirements, provide products by one of the following:

Covertech Fabricating Inc.

Fi-Foil Company.

Innovative Energy, Inc.

Innovative Insulation, Inc.

Insulation Solutions, Inc.

Reflectix Inc.

TVM Building Products.

<Insert manufacturer's name>.

Construction: [Surfaces separated with internal expanders] [Surfaces separated by single-layer polyethylene bubble film] [Surfaces separated by double-layer polyethylene bubble film] <Insert construction>.

Surface-Burning Characteristics: Maximum flame-spread and smoke-developed indexes of [25 and 50] [25 and 450] <Insert values>, respectively.

Retain first option in "Water-Vapor Transmission" Subparagraph below if reflective insulation is to serve as vapor retarder; if not, retain second option.

Water-Vapor Transmission: [1 perm, maximum] [5 perms or greater].

Sheet radiant barriers in paragraph below consist of sheets (substrates) faced with aluminum foil or metallic coatings.

Sheet Radiant Barrier: ASTM C 1313/C 1313M with at least one surface with emittance value of 0.1 or less as measured per ASTM C 1371.

          - Manufacturers: Subject to compliance with requirements, provide products by one of the following:

Covertech Fabricating Inc.

Fi-Foil Company.

Innovative Energy, Inc.

Innovative Insulation, Inc.

Insulation Solutions, Inc.

Reflectix Inc.

TVM Building Products.

<Insert manufacturer's name>.

Construction: [Foil on one side of substrate] [Foil on both sides of substrate] [Vacuum metallizing on substrate].

Surface-Burning Characteristics: Maximum flame-spread and smoke-developed indexes of [5 and 10] <Insert values>, respectively.

Tear Resistance: <Insert value>.

Retain first option in "Water-Vapor Transmission" Subparagraph below if radiant barrier is to serve as vapor retarder; if not, retain second option.

Water-Vapor Transmission: [1 perm, maximum] [5 perms or greater].

Sheet Width: <Insert width>.

Interior radiation control coating systems in paragraph below are liquid coatings available in either a solvent- or water-based formulation. If retaining solvent-based coating, verify its acceptability with local air quality-control board.

Interior Radiation Control Coating System: Silver-colored, low-emissivity, [solvent] [water]-based coating; with a surface emittance value of 0.25 or less as measured per ASTM C 1371.

          - Manufacturers: Subject to compliance with requirements, provide products by one of the following:

SOLEC Corporation.

STS Coatings, Inc.

<Insert manufacturer's name>.

INSULATION FASTENERS

Anchor in "Adhesively Attached, Spindle-Type Anchors" Paragraph below is an example of a mechanical fastener. Prong anchors, welding pins, pointed rods, for example, are also available; insert here as required.

Adhesively Attached, Spindle-Type Anchors: Plate welded to projecting spindle; capable of holding insulation of specified thickness securely in position with self-locking washer in place.

          - Manufacturers: Subject to compliance with requirements, provide products by one of the following:

AGM Industries, Inc.

Gemco.

            - Rodenhouse.

<Insert manufacturer's name>.

Revise "Plate" and "Spindle" subparagraphs below if stainless steel or another metal is required.

Plate: Perforated, galvanized carbon-steel sheet, 0.030 inch (0.762 mm) thick by 2 inches (50 mm) square.

Spindle: Copper-coated, low-carbon steel; fully annealed; 0.105 inch (2.67 mm) in diameter; length to suit depth of insulation.

Anchors in "Adhesively Attached, Angle-Shaped, Spindle-Type Anchors" Paragraph below are intended for attaching insulation to mullions while preventing it from touching spandrel glass.

Adhesively Attached, Angle-Shaped, Spindle-Type Anchors: Angle welded to projecting spindle; capable of holding insulation of specified thickness securely in position with self-locking washer in place.

          - Manufacturers: Subject to compliance with requirements, provide products by one of the following:

Gemco.

<Insert manufacturer's name>.

Revise "Angle" and "Spindle" subparagraphs below if stainless steel or another metal is required.

Angle: Formed from 0.030-inch- (0.762-mm-) thick, perforated, galvanized carbon-steel sheet with each leg 2 inches (50 mm) square.

Spindle: Copper-coated, low-carbon steel; fully annealed; 0.105 inch (2.67 mm) in diameter; length to suit depth of insulation.

Revise size in "Insulation-Retaining Washers" Paragraph below if required.

Insulation-Retaining Washers: Self-locking washers formed from 0.016-inch- (0.41-mm-) thick galvanized-steel sheet, with beveled edge for increased stiffness, sized as required to hold insulation securely in place, but not less than 1-1/2 inches (38 mm) square or in diameter.

          - Manufacturers: Subject to compliance with requirements, provide products by one of the following:

AGM Industries, Inc.

Gemco.

<Insert manufacturer's name>.

Retain subparagraph below if anchors are used in crawl spaces, ceiling plenums, attic spaces, and so forth, where sharp ends of spindles would be exposed to human contact.

Protect ends with capped self-locking washers incorporating a spring steel insert to ensure permanent retention of cap in the following locations:

Crawl spaces.

Ceiling plenums.

Attic spaces.

<Insert location>.

Insulation Standoff: Spacer fabricated from galvanized mild-steel sheet for fitting over spindle of insulation anchor to maintain air space of [1 inch (25 mm)] [2 inches (50 mm)] [3 inches (76 mm)] between face of insulation and substrate to which anchor is attached.

          - Manufacturers: Subject to compliance with requirements, provide products by one of the following:

Gemco.

<Insert manufacturer's name>.

Anchor Adhesive: Product with demonstrated capability to bond insulation anchors securely to substrates without damaging insulation, fasteners, or substrates.

          - Manufacturers: Subject to compliance with requirements, provide products by one of the following:

AGM Industries, Inc.

Gemco.

<Insert manufacturer's name>.

ACCESSORIES

Retain "Insulation for Miscellaneous Voids" Paragraph below for miscellaneous voids if needed for thermal protection or air-infiltration reduction.

Insulation for Miscellaneous Voids:

Glass-Fiber Insulation: ASTM C 764, Type II, loose fill; with maximum flame-spread and smoke-developed indexes of 5, per ASTM E 84.

Spray Polyurethane Foam Insulation: ASTM C 1029, Type II, closed cell, with maximum flame-spread and smoke-developed indexes of 75 and 450, respectively, per ASTM E 84.

Retain "Adhesive for Bonding Insulation" Paragraph below for insulation adhesively bonded to substrates.

Adhesive for Bonding Insulation: Product compatible with insulation and air and water barrier materials, and with demonstrated capability to bond insulation securely to substrates without damaging insulation and substrates.

Subparagraph below applies to LEED 2009 NC, CI, and CS; LEED v4; IgCC; ASHRAE 189.1; and Green Globes. VOC content limit is that for multipurpose construction adhesives.

Adhesives shall have a VOC content of [70] <Insert value> g/L or less.

Subparagraph below applies to LEED v4.

Adhesive shall comply with the testing and product requirements of the California Department of Public Health's "Standard Method for the Testing and Evaluation of Volatile Organic Chemical Emissions from Indoor Sources Using Environmental Chambers."

Retain "Asphalt Coating for Cellar-Glass Block Insulation" Paragraph below for field-applied coating if required.

Asphalt Coating for Cellular-Glass Block Insulation: Cutback asphalt or asphalt emulsion of type recommended by manufacturer of cellular-glass block insulation.

Retain "Eave Ventilation Troughs" Paragraph below if required for vented eaves in attics to receive blanket insulation.

Eave Ventilation Troughs: Preformed, rigid fiberboard or plastic sheets designed and sized to fit between roof framing members and to provide ventilation between insulated attic spaces and vented eaves.

EXECUTION

PREPARATION

Clean substrates of substances that are harmful to insulation, including removing projections capable of puncturing insulation or vapor retarders, or that interfere with insulation attachment.

INSTALLATION, GENERAL

Comply with insulation manufacturer's written instructions applicable to products and applications.

Install insulation that is undamaged, dry, and unsoiled and that has not been left exposed to ice, rain, or snow at any time.

Extend insulation to envelop entire area to be insulated. Fit tightly around obstructions and fill voids with insulation. Remove projections that interfere with placement.

Provide sizes to fit applications and selected from manufacturer's standard thicknesses, widths, and lengths. Apply single layer of insulation units unless multiple layers are otherwise shown or required to make up total thickness or to achieve R-value.

INSTALLATION OF SLAB INSULATION

On vertical slab edge and foundation surfaces, set insulation units using manufacturer's recommended adhesive according to manufacturer's written instructions.

If not otherwise indicated, extend insulation a minimum of [24 inches (610 mm)] [36 inches (915 mm)] <Insert dimension> below exterior grade line.

On horizontal surfaces, loosely lay insulation units according to manufacturer's written instructions. Stagger end joints and tightly abut insulation units.

If not otherwise indicated, extend insulation a minimum of [24 inches (610 mm)] [36 inches (915 mm)] <Insert dimension> in from exterior walls.

INSTALLATION OF FOUNDATION WALL INSULATION

Verify, with manufacturer, methods of installation of insulation for concrete substrates. Revise paragraph below to indicate type of concrete substrate, such as architectural precast concrete panels or cast-in-place concrete walls. Revise to include channels for exposed insulation if required.

Butt panels together for tight fit.

Retain either "Anchor Installation" or "Adhesive Installation" Paragraph below to suit Project.

Anchor Installation: Install board insulation on concrete substrates by adhesively attached, spindle-type insulation anchors as follows:

Fasten insulation anchors to concrete substrates with insulation anchor adhesive according to anchor manufacturer's written instructions. Space anchors according to insulation manufacturer's written instructions for insulation type, thickness, and application.

Show width of cavity on Drawings.

Apply insulation standoffs to each spindle to create cavity width indicated on Drawings between concrete substrate and insulation.

After adhesive has dried, install board insulation by pressing insulation into position over spindles and securing it tightly in place with insulation-retaining washers, taking care not to compress insulation.

Where insulation will not be covered by other building materials, apply capped washers to tips of spindles.

Adhesive Installation: Install with adhesive or press into tacky waterproofing or dampproofing according to manufacturer's written instructions.

INSTALLATION OF CAVITY-WALL INSULATION

Foam-Plastic Board Insulation: Install pads of adhesive spaced approximately 24 inches (610 mm) o.c. both ways on inside face and as recommended by manufacturer. Fit courses of insulation between wall ties and other obstructions, with edges butted tightly in both directions. Press units firmly against inside substrates.

Retain subparagraph below if insulation does not fill cavity. Coordinate with Section 042000 "Unit Masonry" where ties are specified.

Supplement adhesive attachment of insulation by securing boards with two-piece wall ties designed for this purpose and specified in Section 042000 "Unit Masonry."

Retain "Cellular-Glass Board Insulation" Paragraph below if required. Revise to include sealed joints and asphalt coating for moisture protection of units if required.

Cellular-Glass Board Insulation: Install with closely fitting joints using [adhesive pad] [serrated trowel] attachment method according to manufacturer's written instructions.

INSTALLATION OF INSULATION IN FRAMED CONSTRUCTION

Blanket Insulation: Install in cavities formed by framing members according to the following requirements:

Use insulation widths and lengths that fill the cavities formed by framing members. If more than one length is required to fill the cavities, provide lengths that will produce a snug fit between ends.

Place insulation in cavities formed by framing members to produce a friction fit between edges of insulation and adjoining framing members.

Maintain 3-inch (76-mm) clearance of insulation around recessed lighting fixtures not rated for or protected from contact with insulation.

Retain first subparagraph below for eave ventilation.

Attics: Install eave ventilation troughs between roof framing members in insulated attic spaces at vented eaves.

Retain first subparagraph below for metal-framed construction.

For metal-framed wall cavities where cavity heights exceed 96 inches (2438 mm), support unfaced blankets mechanically and support faced blankets by taping flanges of insulation to flanges of metal studs.

Retain first subparagraph below for wood-framed construction.

For wood-framed construction, install blankets according to ASTM C 1320 and as follows:

With faced blankets having stapling flanges, lap blanket flange over flange of adjacent blanket to maintain continuity of vapor retarder once finish material is installed over it.

Vapor-Retarder-Faced Blankets: Tape joints and ruptures in vapor-retarder facings, and seal each continuous area of insulation to ensure airtight installation.

Specify location of vapor retarder in "Exterior Walls" Subparagraph below based on vapor-flow analysis of a construction assembly.

Exterior Walls: Set units with facing placed toward [exterior of construction] [interior of construction] [as indicated on Drawings].

Retain "Interior Walls" Subparagraph below for interior walls around high-humidity areas such as shower rooms and swimming pools.

Interior Walls: Set units with facing placed [as indicated on Drawings] [toward areas of high humidity] <Insert location>.

Miscellaneous Voids: Install insulation in miscellaneous voids and cavity spaces where required to prevent gaps in insulation using the following materials:

Glass-Fiber Insulation: Compact to approximately 40 percent of normal maximum volume equaling a density of approximately 2.5 lb/cu. ft. (40 kg/cu. m).

Spray Polyurethane Insulation: Apply according to manufacturer's written instructions.

Retain "Loose-Fill Insulation" Paragraph below for loose-fill glass-fiber or cellulosic insulation.

Loose-Fill Insulation: Apply according to ASTM C 1015 and manufacturer's written instructions. Level horizontal applications to uniform thickness as indicated, lightly settle to uniform density, but do not compact excessively.

Retain subparagraph below for cellulosic-fiber loose-fill insulation.

For cellulosic-fiber loose-fill insulation, comply with CIMA's Bulletin #2, "Standard Practice for Installing Cellulose Insulation."

Retain "Spray-Applied Cellulosic Insulation" Paragraph below for self-supported, spray-applied cellulosic insulation or spray polyurethane foam insulation.

Spray-Applied Cellulosic Insulation: Apply spray-applied insulation according to manufacturer's written instructions. Do not apply insulation until installation of pipes, ducts, conduits, wiring, and electrical outlets in walls is completed and windows, electrical boxes, and other items not indicated to receive insulation are masked. After insulation is applied, make flush with face of studs by using method recommended by insulation manufacturer.

INSTALLATION OF CURTAIN-WALL INSULATION

Install board insulation in curtain-wall construction according to curtain-wall manufacturer's written instructions.

Show width of cavity on Drawings.

Hold insulation in place by securing metal clips and straps or integral pockets within window frames, spaced at intervals recommended in writing by insulation manufacturer to hold insulation securely in place without touching spandrel glass. Maintain cavity width of dimension indicated on Drawings between insulation and glass.

Install insulation to fit snugly without bowing.

INSTALLATION OF REFLECTIVE INSULATION

Install sheet reflective insulation according to ASTM C 727.

Install sheet radiant barriers according to ASTM C 1744.

Install interior radiation control coating system according to ASTM C 1321.

PROTECTION

Protect installed insulation from damage due to harmful weather exposures, physical abuse, and other causes. Provide temporary coverings or enclosures where insulation is subject to abuse and cannot be concealed and protected by permanent construction immediately after installation.

END OF SECTION 072100